SECTION 05700

ORNAMENTAL METAL

Display hidden notes to specifier.

** NOTE TO SPECIFIER ** This section is based on products manufactured by

Historical Bronze Works
 4400 Oneal

Greenville, TX 75401
 Tel:  (903) 454-0904
 Fax:  (903) 45-3642
 e-mail: info@historicalbronze.com

** NOTE TO SPECIFIER ** Historical Bronze manufactures custom bronze, brass, aluminum, steel and iron castings. Products include railings, sculptures, grilles, architectural ornament, cornice, doors, monuments, light fixtures and columns, as well as other custom, made to order products.  Custom patinas and historic restoration and replications are available. Contact us for assistance with custom designs, fabrications, materials, and finishes.PART  1  GENERAL

1.1     RELATED SECTIONS

** NOTE TO SPECIFIER **  Delete sections below not relevant to this project; add others as required.

A.       Section 05500 - Metal Fabrications.

B.       Section 06400 - Architectural Woodwork.

C.       Section 08100 - Metal Door Frames.

D.       Section 08710 - Door Hardware.

1.2     SUBMITTALS

A.       Submit under provisions of Section 01300.

B.       Shop Drawings:      Show fabrication and installation details for decorative metal. Submit the following:

1.       Drawings indicating locations of products of this section in project

2.       Drawings and details indicating sizes, materials, thicknesses and locations of products. Provide setting plan with installation techniques, provisions for reinforcement and anchoring.

3.       If templates are required, submit full size templates for products requiring templates for fabrication.

4.       Submit images of Patterns, Models and plaster castings for each custom casting required

1.3     DELIVERY, STORAGE, AND HANDLING

A.       Packing, Shipping, Handling and Unloading: Package finished products to prevent damage to products and finishes.

B.       Storage and Protection:

1.       Store products in manufacturer's packaging until installation.

2.       Keep product in safe, dry storage area until installation.

1.4     SCHEDULING

A.       Supply full size templates for products requiring templates for fabrication to manufacturer of products of this section in time for scheduled fabrication.

PART  2  PRODUCTS

2.1     MANUFACTURERS

A.       Acceptable Manufacturer: Historical Bronze Works located at 4400 Oneal Street, Greenville, TX 75401 Tel: 903-454-0904 ; Email: info@historicalbronze.com  Web: www.historicalbronze.com

B.       Requests for substitutions will be considered in accordance with provisions of Section 01600.

PART  3  EXECUTION

3.1     EXAMINATION

A.       Verification of Conditions:

1.       Verify locations, openings and substrates are prepared to receive products of this section.

2.       Notify Architect of unsuitable conditions.

3.       Beginning construction activities of this section indicates installer's acceptance of conditions.

3.2     INSTALLATION

A.       Install in accordance with the manufacturer’s recommendations and the approved shop drawings.

B.       Where appropriate, supply products of this section for installation by installers of products of other sections.

3.3     PROTECTION

A.       Protect installed metal products from damage by other trades and subsequent construction activities.

B.       Replace damaged product.

END OF SECTION